## Slide 1: Consortium Assessment of RNA-Seq Quality
Michael Rutenberg Schoenberg
Gerstein lab Journal Club
10/07/2014

## Slide 2: Sequence Quality Consrtium (SEQC)
Nature Biotech September 2014 Issue

## Slide 3: Association of Biomolecular Research Facilities
Nature Biotech September 2014 Issue

## Slide 4: 3 Consortia
Sequencing Quality Consortium/Microarray Quality Consortium (SEQC/MAQC)
  Third stage of an FDA study that originally focused on microarray quality
  Focus on Illumina and
Association of Biomolecular Research Facilities
  Illumina, Pac Bio, 454, and Ion Torrent
Led by Chris Mason

## Slide 5: Standardized RNA Samples (common to SEQC and ABRF)
A: Universal Human Reference RNA
B: Human Brain Reference RNA
C: 75% A, 25% B
D: 75% B, 25% A
All Samples had synthetic spike-ins (External RNA Controls Consortium)
Sequenced in replicates
Assumption: Differentially expressed genes are false positives
  Focus on finding methods that minimize variation between samples
Notes: Stratagene's Universal Human Reference (UHR) RNA (sample A) and Ambion's Human Brain Reference RNA (sample B).

## Slide 6: Overall study design
SOLiD Sequencing (SEQC, not ABRF)
Li et al. Nature Biotech 2014

## Slide 7: Synthetic Spike-in Controls
Idea: Add synthetic RNA of known concentration to different samples with RNAs of unknown relative quantity
Normalize based on reads mapping to synthetic RNAs

## Slide 8: Applications of synthetic RNA spike-ins
Global changes in gene expression
  Myc induces increase in total RNA production in tumor cells (Lin et al. Cell 2012)
Correcting noise in RNA-Seq
Single cell RNA-Seq
RNA subpopulations
  CLIP-Seq/RIP-Seq
  Subcellular RNA fractions
  Etc.

## Slide 10: Annotations
GENCODE (v15)
  Annotation based on RNA-Seq, qPCR validation of splice junctions, and manual annotation
Aceview
  Catalog of cDNA sequences
Refseq
  Manually curated high confidence nucleotide sequences
SEQC/MAQC Consortium III Nat Biotech 2014

## Slide 11: RNA-Seq matches qPCR
843 Genes, log2 ratio of expression in sample A and B

## Slide 13: Many false positive differentially expressed genes in RNA-Seq

## Slide 14: Variation between sites
Site 3 always has the worst inter-site correlation

## Slide 15: Correlations of differentially expressed genes between different samples
PEER and EDA-Seq have the highest correlations
PEER also did well for false positives and benefits
  uses information about which site samples came from

## Slide 16: Association of Biomolecular Research Facilities
Nature Biotech September 2014 Issue
Focus: Comparing different sequencing platforms

## Slide 17: Read lengths
Illumina
  50 bp paired end
Pac Bio
  800 bp - 3kb (highly variable)
454
  mean ~550 bp, Gaussian distribution
Personal Genome Machine
  Mean: 176 bp
Ion Proton
  Mean: 81 bp

## Slide 18: Base qualities
Notes: Reverse transcriptase works less well at the first ~16 bases. Bias seen in all platforms, though not as much in Pac Bio.

## Slide 19: Error rates depend on aligner
Aligners
  STAR – used for all platforms
  Eland – Illumina HiSeq
  TMAP – Ion Proton/Ion Personal Genome Machine
  GSRM – 454
  GMAP – Pacific Biosciences
Better performance for platform-specific aligners
99% accuracy
90% accuracy

## Slide 20: Gene/splice junction detection vs. Bases sequenced

## Slide 21: Sequencing of lower quality RNA
RNA treated by heat/sonication might be more similar to low quality RNA that has been stored for a long time, or chemically treated

## Slide 22: Correlation between samples by platform
Illumina better, but maybe just because of read depth
PacBio omitted because of low data

## Slide 23: Read Depth vs. Gene/Splicing Detection

## Slide 24: Cross-platform detection of splice junctions
Differences in junctions per million basses are due to read length

## Slide 25
Overlap of differentially expressed genes (A vs. B) between sequencing platforms
Differential expression by limma voom

## Slide 27: Synthetic Spike-in Controls
Idea: Add synthetic RNA of known concentration to different samples with RNAs of unknown relative quantity
Normalize based on reads mapping to synthetic RNAs
Snorm = 9.6
Pombe Genes
Input (Total RNA-Seq)
HPDP (old) Pulldown

## Slide 28: Applications of synthetic RNA spike-ins
Global changes in gene expression
  Myc induces increase in total RNA production in tumor cells (Lin et al. Cell 2012)
Correcting noise in RNA-Seq
Single cell RNA-Seq
RNA subpopulations
  CLIP-Seq/RIP-Seq
  Subcellular RNA fractions
  Etc.

## Slide 29: PCA: 16 replicates of two human RNA samples (red/blue)
PC 2/3 do not distinguish biological samples!

## Slide 30: Do spike-in controls behave independently of their associated biological samples?

## Slide 32: Outlook
SEQC is an excellent data set for RNA-Seq tool development
Spike-ins may be helpful in correcting for library preparation biases in RNA-Seq

## Slide 33: Cost of Sequencing