NASA oligonucleotide microarray hybridization protocol and solution reference

Paul Bertone  (paul.bertone@yale.edu)

# Buffer recipes

Filter all solutions with 0.2 μm vacuum filter units.

## 12X MES stock buffer, 500ml

(1.22M MES, 0.89M [Na+])

MES, free acid monohydrate	35.2g

MES, sodium salt			96.65g

Water				to 500ml

Final pH should be 6.5 - 6.7.

Store protected from light at 4°C.

## 2X MES hybridization buffer, 250ml

(100mM MES, 1M [Na+], 20mM EDTA, 0.01% Tween-20)

12X MES stock buffer		41.5ml

5M NaCl				88.5ml

0.5M EDTA			20.0ml

10% Tween-20			0.5ml

Water				99.5ml

Store protected from light at 4°C.

## Non-stringent wash buffer (NSWB), 1L

(6X SSPE, 1mM DTT, 0.01% Tween-20)

20X SSPE				300ml

10% Tween-20			1.0ml

1M DTT				1.0ml

Water				to 1L

Store at room temperature.

## Stringent wash buffer (SWB), 1L

(100mM MES salt and free acid solution, 0.1M [Na+], 1mM DTT, 0.01% Tween-20)

12X MES stock buffer		83.3ml

5M NaCl				5.2ml

10% Tween-20			1.0ml

1M DTT				1.0ml

Water				to 1L

Store protected from light at 4°C.

## 20X SSPE, 1L

Combine:

NaCl				175.3g

NaH2PO4-H2O		27.6g

EDTA				7.4g

in 800ml distilled water

Boil until salt is fully dissolved.

Adjust the pH to 7.4 with 10M NaOH.

Adjust the volume to 1L with distilled water.

## 20X SSC, 1L

Combine:

NaCl				175.3g

Sodium citrate			88.2g

in 800ml distilled water

Boil until salt is fully dissolved.

Adjust the pH to 7.0 with 1M HCl.

Adjust the volume to 1L with distilled water.

Hybridization solutions

Volumes appropriate for hybridizations in Secure-Seal adhesive modules

(Grace BioLabs SA-200, adhesive seal tabs ST-200)

Pre-hybridization solution, 400ul

2X MES hybridization buffer	200µl

Nuclease-free water		192µl

Herring or salmon sperm

DNA, 10mg/ml		4µl

BSA, 50mg/ml			4µl

Hybridization solution, 320ul

2X MES hybridization buffer	160µl

Cot-1 DNA, 1mg/ml		30µl

BSA, 50mg/ml			3µl

Labeled control oligo, 100nM	3µl

(multiple channel experiments require additional control oligos)

Labeled cDNA probe		>= 2µg/sample

Water				to 320µl

Volumes appropriate for hybridizations using standard coverslips and HybChambers

(Gene Machines HYB-03 or HYB-04)

Pre-hybridization solution, 300ul

2X MES hybridization buffer	100µl

Nuclease-free water		198µl

Herring or salmon sperm

DNA, 10mg/ml		1µl

BSA, 50mg/ml			1µl

Hybridization solution, 40ul

2X MES hybridization buffer	20µl

Herring or salmon sperm

DNA, 10mg/ml		0.4µl

BSA, 50 mg/ml			0.4µl

Labeled control oligo, 100nM	0.4µl

(multiple channel experiments require additional control oligos)

Labeled cDNA probe		>= 2µg/sample

Nuclease-free water		to 40µl

References to water = Millipore or nuclease-free water. Do not use DEPC-treated water.

Control oligos

Each microarray is designed to include a number of control features complementary to a common DNA sequence. When the arrays are hybridized, an end-labeled 24mer oligo is used to illuminate these features, forming a grid to which the scanned image will be aligned in software. An appropriate concentration of this control oligo must be spiked into the hybridization solution and should fluoresce in the same emission spectrum as the labeled DNA probe. Thus, a two-channel experiment must include two control oligos, each fluorescence-labeled to coincide with the excitation and emission spectra used for the two experimental samples.

Fluor-5’ TTCCTCTCGCTGTAATGACCTCTA 3’

Hybridization protocol (for Secure-Seal gasket hybridization modules)

1.	Pipette 400µl of pre-hyb solution into hybridization module and incubate at 45°C for 20 minutes.

2.	Remove pre-hyb solution and replace with 320µl hybridization solution. A small air bubble will remain in the module and will agitate the solution during hybridization.

3.	Carefully dry both input ports on hybridization module with Kimwipes. This will guarantee complete adhesion of the sealing tabs to the clean surface.

4.	Using forceps, apply adhesive tabs to both input ports. The adhesive tabs should be laid completely flat so that a water-tight seal is formed.

5.	Insert each array into a 50ml tube covered with aluminum foil. Place tubes into hybridization oven and enable wheel rotation.

6.	Incubate for 16-20 hours at 50°C.

Following hybridization:

1.	Heat SWB to 45°C.

2.	Briefly disable the rotating wheel in the hybridization oven, remove one Falcon tube and enable rotation again. It is important to keep the arrays completely hydrated to prevent probe from drying on any part of the printed area. A small volume of liquid will have evaporated during the hybridization cycle, so the arrays should be constantly agitated until the hybridization solution can be removed.

3.	Using forceps, carefully remove both adhesive tabs. Minimize the exposure of arrays to ambient light.

4.	Remove hybridization solution with 1000µl pipette and immediately replace with 400µl NSWB. Gently pipette up and down 1-2 times and discard NSWB, replacing with a fresh aliquot.

5.	Return the array to its original foil-wrapped 50ml tube, oriented horizontally in a tube rack to prevent buffer from leaking out of the module.

6.	When all arrays have been processed, remove the adhesive hybridization modules from the slides and place each array into light-tight microscope slide box containing NSWB.

7.	Wash in NSWB by agitating on rotating platform for 10 minutes, changing the buffer once.

8.	Replace buffer with 45°C SWB. Wash in SWB for 30 minutes, changing the buffer every 5 minutes.

9.	Replace buffer with NSWB. Wash in NSWB for 5 minutes, changing the buffer twice.

10.	Wash in 0.2X SSC for one minute to remove residual salt from NSWB. Repeat this step for a total of 4 washes.

Dry arrays with compressed nitrogen gas. Scan as soon as possible at <= 5 μm resolution.

Hybridization protocol (for HybChambers/slide coverslips)

1.	Apply pre-hyb solution to arrays and incubate at 45°C for 15 minutes.

2.	Remove pre-hyb solution, rinse with distilled water.

3.	Apply hybridization solution, place coverslip onto array and seal in HybChamber.

4.	Incubate in water bath for 16-20 hours at 50°C.

Following hybridization:

1.	Heat SWB to 45°C.

2.	Remove coverslips and immediately place arrays into light-tight microscope slide box containing NSWB.

3.	Wash in NSWB by agitating on rotating platform for 10 minutes, changing the buffer once.

4.	Replace buffer with 45°C SWB. Wash in SWB for 30 minutes, changing the buffer every 5 minutes.

5.	Replace buffer with NSWB. Wash in NSWB for 5 minutes, changing the buffer twice.

6.	Wash in 0.2X SSC for one minute to remove residual salt from NSWB. Repeat this step for a total of 4 washes.

Dry arrays with compressed nitrogen gas. Scan as soon as possible at <= 5μm resolution.

Equipment and reagents

Gene Machines (www.genemachines.com)

HYB-04	HybChamber Mica tinted dual microarray hybridization chambers

Grace BioLabs (www.gracebio.com)

SA-200	Secure-Seal gasketed hybridization chambers

ST-200	Adhesive seal tabs

Invitrogen (www.invitrogen.com)

15279011	Human Cot-1 DNA

Sigma-Aldrich (www.sigmaaldrich.com)

69896		2-Morpholinoethanesulfonic acid sodium salt

69892		4-Morpholineethanesulfonic acid monohydrate